## 변압기
개별관리 자재 생산정보 내역서
주문번호 | 4100100208 |  |  | 주문일자 | 2021.02.01
납품업체 |  |  |  | 계약업체 | 1188200345 | 한국전기공업협동조합
입고사업소 | 8*** | 경인권 물류센터 |  | 납기일자 | 2021.02.20
(자동 기재 항목 : 내용 변경 금지) | [8 empty] | (납품업체 기재 항목)
자재번호 | 자재명 |  | 주문수량 | 단가 | 금액 | 납품수량 | 표준인식번호 | 검사 LOT번호 | 제조번호 | 생산일자 | 제조사 | 생산공장 | 1차 부싱타입 | 2차 부싱타입 | 권선종류 | 절연유 타입 | 절연지 내열온도(℃) | 유량(L) | 무부하손(W) | 부하손(W)
126474 | 고효율주상변압기,100KVA(난연유),유탭 |  | 13 | 1931510 | 7726080 | 13 | 20210201-00000001 | 10000646998 | 202008220023 | 20210204 | 신영중전기 | 부산공장 | 자기제 | 자기제 | Cu | 광유 | Kraft
[7 empty] | 20210201-00000002 | 10000646998 | 202008220024 | 20210204 | 신영중전기 | 부산공장 | 폴리머 | 폴리머 | AL | 실리콘유 | Diamond Kraft
[7 empty] | 20210201-00000003 | 10000646998 | 202008220025 | 20210204 | 신영중전기 | 부산공장 | 에폭시 | 에폭시 |  | 식물유 | H종 노맥스지
[7 empty] | 20210201-00000004 | 10000646998 | 202008220026 | 20210204 | 신영중전기 | 부산공장
[7 empty] | 20210201-00000005 | 10000646998 | 202008220027 | 20210120 | 제룡산업 | 대전 1공장
[7 empty] | 20210201-00000006 | 10000646998 | 202008220028 | 20210120 | 제룡산업 | 대전 1공장
[7 empty] | 20210201-00000007 | 10000646998 | 202008220029 | 20210120 | 제룡산업 | 대전 1공장
[7 empty] | 20210201-00000008 | 10000646998 | 202008220030 | 20210120 | 제룡산업 | 대전 1공장
[7 empty] | 20210201-00000009 | 10000646998 | 202008220031 | 20210120 | 제룡산업 | 대전 1공장
[7 empty] | 20210201-00000010 | 10000646998 | 202008220032 | 20210124 | 이우티이씨 | 나주공장
[7 empty] | 20210201-00000011 | 10000646998 | 202008220033 | 20210124 | 이우티이씨 | 나주공장
[7 empty] | 20210201-00000012 | 10000646998 | 202008220034 | 20210124 | 이우티이씨 | 나주공장
[7 empty] | 20210201-00000013 | 10000646998 | 202008220035 | 20210124 | 이우티이씨 | 나주공장
개별관리 대상 자재 생산정보 내역서 다운로드 시 수신한 파일에 내용이 자동 기재 됨
개별관리 대상 자재 생산정보 내역서 다운로드 시 수신한 파일에 내용이 자동 기재 됨
자동 기재된 항목의 생산 정보만 기재

## 개폐기
개별관리 자재 생산정보 내역서
주문번호 | 4100100209 |  |  | 주문일자 | 2021.02.01
납품업체 |  |  |  | 계약업체 | 1188200345 | 한국전기공업협동조합
입고사업소 | 8*** | 경인권 물류센터 |  | 납기일자 | 2021.02.20
(자동 기재 항목 : 내용 변경 금지) | [8 empty] | (납품업체 기재 항목)
자재번호 | 자재명 |  | 주문수량 | 단가 | 금액 | 납품수량 | 표준인식번호 | 검사 LOT번호 | 제조번호 | 생산일자 | 제조사 | 생산공장 | 정격전류 (A) | 스위칭 매체 | 절연매체 | 매커니즘 조작방식 | 부싱타입 |  | 정격가스압력 (Mpa) | 최저보증 가스압력(Mpa) | 가스량 (Kg)
[17 empty] | 1차 | 2차
121016 | 25.8kV Eco부하개폐기,일반,자동 |  | 13 | 1931510 | 7726080 | 13 | 20210201-000000014 | 10000646999 | 202008220023 | 20210204 | 유호전기공업 |  | 400 | SF6 | SF6 | spring
[7 empty] | 20210201-000000015 | 10000646999 | 202008220024 | 20210204 | 유호전기공업 |  |  | Vacuum | Epoxy | magnetic
[7 empty] | 20210201-000000016 | 10000646999 | 202008220025 | 20210204 | 유호전기공업 |  |  | Oil | Oil
[7 empty] | 20210201-000000017 | 10000646999 | 202008220026 | 20210204 | 유호전기공업
[7 empty] | 20210201-000000018 | 10000646999 | 202008220027 | 20210120 | 디투엔지니어링
[7 empty] | 20210201-000000019 | 10000646999 | 202008220028 | 20210120 | 디투엔지니어링
[7 empty] | 20210201-000000020 | 10000646999 | 202008220029 | 20210120 | 디투엔지니어링
[7 empty] | 20210201-000000021 | 10000646999 | 202008220030 | 20210120 | 디투엔지니어링
[7 empty] | 20210201-000000022 | 10000646999 | 202008220031 | 20210120 | 디투엔지니어링
[7 empty] | 20210201-000000023 | 10000646999 | 202008220032 | 20210124 | 이우티이씨
[7 empty] | 20210201-000000024 | 10000646999 | 202008220033 | 20210124 | 이우티이씨
[7 empty] | 20210201-000000025 | 10000646999 | 202008220034 | 20210124 | 이우티이씨
[7 empty] | 20210201-000000026 | 10000646999 | 202008220035 | 20210124 | 이우티이씨
개별관리 대상 자재 생산정보 내역서 다운로드 시 수신한 파일에 내용이 자동 기재 됨
개별관리 대상 자재 생산정보 내역서 다운로드 시 수신한 파일에 내용이 자동 기재 됨
자동 기재된 항목의 생산 정보만 기재

## Sheet1
개발DB | CREATE DATABASE LINK CATG_TEST CONNECT TO EBXMLWEBTEST IDENTIFIED BY "JCVVWLL_0218" USING '(DESCRIPTION = (ADDRESS_LIST =(ADDRESS = (PROTOCOL = TCP)(HOST =100.1.13.62)(PORT = 21152)))(CONNECT_DATA =(SERVICE_NAME = ORA9)))'; ;
운영DB | CREATE DATABASE LINK CATG CONNECT TO EBXMLWEB IDENTIFIED BY "LTSB8_WN3604" USING '(DESCRIPTION = (ADDRESS_LIST =(ADDRESS = (PROTOCOL = TCP)(HOST =100.1.13.52)(PORT = 21152)))(CONNECT_DATA =(SERVICE_NAME = CATG1)))’; ; CREATE PUBLIC DATABASE LINK CATG CONNECT TO EBXMLWEB IDENTIFIED BY "LTSB8_WN3604" USING 'CATG’ ;